## Slide 1
ESMAP WEBINAR ON AFRICAN POWER POOLS
The African Power Pools:
Building Towards the
African Single Electricity Market
EAPP PRESENTATION
James Wahogo · Secretary General, EAPP
11 March 2026 · Regional Power Pools Webinar
Eastern Africa Power Pool · www.eappool.org

## Slide 2
CHAPTER 1 — HIGH-LEVEL BENEFITS OF POWER POOLS
How the Power Pool will Transform Eastern Africa
💡
Affordable Power
Lower Electricity Costs
Practical Examples :Ethiopia exports surplus hydro to Kenya — displacing expensive diesel & thermal. Djibouti, Kenya & Tanzania with supply deficiencies and high generation costs gain the most from regional access to cheap hydro.
☀️
RE at Scale
Renewable Energy Development
Ethiopia 5,000+ MW hydro · Kenya geothermal & wind & solar · Egypt vast solar & wind · DRC enormous hydro potential — all shared across 13 member states, replacing costly national thermal plants.
🔗
Resilience
Reliability & Security of Supply
Shared reserves across Ethiopia · Kenya · Uganda .-Tanzania · Sudan mean no country faces blackouts alone. Regional diversity cushions seasonal hydrology and weather risks.
⚡ Smallest systems — Biggest Win | Djibouti, Rwanda & Burundi stand to gain most from regional hydro & solar access
Eastern Africa Power Pool · www.eappool.org

## Slide 3
CHAPTER 2 — STATE OF THE REGIONAL GRID
Active Cross-Border Interconnections in the Main Corridor
🇪🇬⚠🇸🇩
Egypt – Sudan
220 kV
⚠ Load / Synchronization Issues
Currently acting as a Load (80 MW) due to non-synchronisation with rest of Sudan grid. Long-term: north–south corridor for bulk power. Transfer capacity to increase to 300MW with installation of STATCOM later this year
🇸🇩 ⇄ 🇪🇹
Ethiopia ↔ Sudan
220 kV
LIVE
Bilateral energy trade (100 -230 MW) · mostly from Ethiopia to Sudan
🇪🇹→🇰🇪
Ethiopia → Kenya
HVDC 500 kV
LIVE
2,000 MW Transfer capacity · ET-KE set for upgrade from current 200MW to 400MW transfer later this year
🇰🇪⇄🇹🇿
Kenya ↔ Tanzania
400 kV 1500MW
LIVE
1500 MW Enabling south-bound exports from Ethiopia & Kenya onward to Tanzania. (Current 100MW import from ET to TZ)
🇹🇿 ⇄🇿🇲
Tanzania ↔ Zambia
400 KV/330Kv AC
IN PROGRESS
Tanzania – Zambia· First ever EAPP–SAPP physical link connecting about 20 countries by Q1 2028
.
600MW Transfer capacity
v
🌍 Main Corridor reach: Egypt · Sudan · Ethiopia · Kenya · Tanzania · Zambia | Combined population served: 300M+,
The Kenya, Uganda, Rwanda, Eastern DRC Corridor already interconnected to the main Corridor
Eastern Africa Power Pool · www.eappool.org

## Slide 4
CHAPTER 2 — STATE OF THE REGIONAL GRID · CONTROL AREAS
Operational Readiness
Technical Support has been provided for the Establishment of Control Areas in The Region. Each national TSO will act as Control Area Operator (CAO) — responsible for system balance, AGC & security of supply. Tanzania and Ethiopia will have guests
● INDIVIDUAL CONTROL AREAS
🇱🇾 Libya
GECOL
🇪🇬 Egypt
EETC
🇸🇩 Sudan
NEC
🇰🇪 Kenya
KETRACO
🇺🇬 Uganda
UETCL
🇷🇼 Rwanda
RURA
● GROUPED / SHARED CONTROL AREAS
Horn of Africa Block
🇪🇹 Ethiopia + 🇩🇯 Djibouti
Control Area Operator: EEP — Ethiopia
ℹ Single Control Area — Ethiopia & Djibouti jointly managed
Southern Lakes Block
🇹🇿 Tanzania + 🇧🇮 Burundi + 🇨🇩 East DRC
Control Area Operator: TANESCO — Tanzania
Eastern Africa Power Pool · www.eappool.org
Detailed investment plan for member utilities to comply with the EAPP Interconnection Code (IC) has been undertaken; with costs estimates done per country with full aggregation of the investment plan for the region
Power System Studies undertaken under Operational Readiness Project have been Validated with actual simulations and Test undertaken on member countries Grid Systems
ℹ Single Control Area — Tanzania, Burundi and East DRC jointly managed

## Slide 5
CHAPTER 3 — MARKET DESIGN · ROADMAP TO GO-LIVE
Roadmap to DAM Go-Live — H2 2026
April 2025 ✅
Market Rules Ratified — 20th CoM, Kampala
EAPP now has legally approved Market Rules for regional electricity trading. Developed by Enerweb/Nord Pool consortium.
March 2025 ✅
MTP Commissioned — Ready for Trading
FAT (Dec 2024) → SAT (Feb 2025) → Dry Runs with all EAPP countries traders → Production commissioning signed Mar 14, 2025. Awaiting Participants onboarding
January 2025 ✅
~40 Traders Certified
Train-the-Trainers (Jan 20–24) + Trader Certification (Jan 27–31). All member countries certified across EAPP countries.
April 2025 ✅
Settlement Bank Designated
Bank for financial settlement of cross-border electricity trades confirmed and approved by COM awaiting finalization of the Process and final engagement.
🔑 POST APRIL 2026 CoM — UNLOCK PHASE
Q2 2026 — MO Established in Host Country
Market Operator formally incorporated following CoM host country decision.
Q2–Q3 2026 — Parallel Run & Final Tests
Dry runs with all EAPP countries traders · System readiness verification · Regulatory approvals confirmed.
H2 2026 — DAM Go-Live · First Movers
First Movers begin live cross-border trading. Additional countries onboarded as market expands.
Beyond — Next Movers & Market Deepening
Additional countries onboarded as next movers. Regional Transmission Pricing methodology implemented.
Eastern Africa Power Pool · www.eappool.org
EAPP is building a regional competitive electricity market — a Day-Ahead Market (DAM) enabling member states to trade power at least cost, with transparent merit-order dispatch and price discovery across borders. Initially to start with DAM, Balancing , Intraday and Ancillary to come later

## Slide 6
CHAPTER 4 — COUPLING WITH SAPP
EAPP–SAPP: Coordination Mechanism
For the first time, Eastern and Southern Africa are being electrically connected — EAPP and SAPP are jointly developing operational procedures and market arrangements to enable inter-pool electricity trade.
EAPP
13 Members · NE & E Africa
Egypt · Ethiopia · Kenya · Uganda
Tanzania · Sudan · Rwanda
Burundi · DRC · Djibouti · Libya
+ 2 more
⇄
ZTK
Interconnector
Zambia – Tanzania – Kenya
1,700+ km HVDC
⇄
SAPP
12 Members · S Africa
South Africa · Zimbabwe
Zambia · Mozambique · Namibia
Botswana · Angola · + more
🔌 Physical Link
📍 Route: Zambia (Pensulo) → Tanzania (Mbeya–Iringa–Dodoma) → Kenya (Isinya)
📋 Governance Structure
📋 Steering Committee — High-level EAPP–SAPP oversight & strategic direction
🤝 Coordination Committee — Operational co-ordination between the two pools
⚙️ Operational Readiness Team — ZTK commissioning implementation
📅 Regular joint meetings reviewing progress on ZTK and inter-pool readiness
📈 Market Coupling
Ongoing preparations of Capacity Allocation Mechanism (CAM) · Inter-pool auction framework · Harmonised trading rules EAPP–SAPP being undertaken by Four Technical Task Teams
🗺️ Planning — Transmission planning & power flow studies for ZTK corridor
⚡Operations — Aligning system operating procedures for cross-pool dispatch between EAPP & SAPP
💹 Markets — Pricing, settlement & market coupling arrangements for inter-pool trades
⚖️ Legal & Regulatory — Harmonizing frameworks across EAPP and SAPP jurisdictions
🌍 Regional Impact
23countries · 800M+ people · First-ever physical EAPP–SAPP link · Path to continental ASEF market
Eastern Africa Power Pool · www.eappool.org

## Slide 7
CHAPTER 5 — SKILLS DEVELOPMENT & CAPACITY BUILDING
Capacity Building Needs to Enhance Regional Power Trade
Strong institutional and technical capacity is essential for sustainable regional electricity markets. EAPP is developing capacity-building programmes jointly with member utilities, regulators and the Market Operator across Eastern Africa.
📈 Market Operations & Trading
~40 traders certified from across EAPP countries. Additional certification needed as the market expands. Ongoing refresher training essential.
🖥️ System Operations & TSO Control
TSOs in all 13 member states need strong SCADA, EMS, and situational awareness capabilities for real-time grid management.
⚖️ Regulatory Frameworks
National regulators need capacity to align domestic frameworks with EAPP regional rules, licensing, and cross-border dispute resolution.
📡 Communications Infrastructure
Reliable fibre and communications networks between control centres are critical for coordinated dispatch and market operation.
🔧 Generation Transmission Planning
Skilled generation+ transmission planners needed for long-term network expansion planning, investment studies, and interconnection modelling.
🎓 Training Programmes
Regional training centres and e-learning platforms to ensure continuous upskilling and knowledge transfer across all member states.
Eastern Africa Power Pool · www.eappool.org

## Slide 8
CHAPTER 6 — EXPECTATIONS & ANTICIPATED DEVELOPMENTS
Next 1–2 Years: Key Developments Expected
🔌 INFRASTRUCTURE
Most EAPP interconnections commissioned — Ethiopia→Kenya, Kenya→Tanzania, Egypt↔Sudan reinforced
ZTK Interconnector completed — Zambia, Tanzania & Kenya electrically connected, enabling EAPP–SAPP trade. Implementation of Uganda –Tanzania 400kV and Uganda –South Sudan 400kV Lines
EAPP SCADA=EMS/EIS installed and connected to all TSOs — real-time visibility enabling coordinated dispatch across all six control areas
Market Operator operational — MO fully independent in host country following April 2026 CoM
📈 MARKETS
DAM Go-Live H2 2026 — First Movers begin live cross-border trading.
Additional countries onboarded as next movers following first mover go-live
Settlement bank & accounts live — financial infrastructure supporting cross-border trades
Introduction of Intra-Day Market (IDM)
Regional Transmission Pricing — wheeling charges study completed & methodology implemented
Eastern Africa Power Pool · www.eappool.org

## Slide 9
CONCLUSION
Building Towards the
African Single Electricity Market
13
Member States
Egypt · Ethiopia · Kenya · Uganda · Tanzania · Sudan · Rwanda · Burundi · DRC · Djibouti · Libya · Somalia · South Sudan
H2
2026
DAM Go-Live Target
First movers to start trading — following April 2026 CoM decisions
1st
Ever
EAPP–SAPP Physical Link and Market Coupling
ZTK connects Eastern & Southern Africa — 23 countries, 800M+ people served
📧 eapp@eappool.org 🌐 www.eappool.org 📍 The General Secretariat · Addis Ababa, Ethiopia
EAPP · Eastern Africa Power Pool