## Slide 1: ESMAP Webinar: The African Power Pools: Building Towards the African Single Electricity Market
Presentation by SAPP Coordination Centre Executive Director
March 2026

## Slide 2
EAPP and SAPP Market Coupling
SAPP Membership and Trading
Operational Challenges
Capacity Building
Presentation Outline

## Slide 3: Introduction
Market coupling of the SAPP and EAPP refers to the coordinated matching of supply and demand across the two power pool markets via a shared day-ahead market (DAM) tool, optimizing cross-border trade and network usage
Worth noting that the SAPP regional electricity market is fully operational while the EAPP market is expected to be launched this year. Both power pools have established governance documents for the governing of the operations of the electricity markets
The EAPP has implemented a trading platform using the same vendor that developed the SAPP trading platform. This is expected to make the coupling a bit easier but there is some work that still needs to be done to ensure alignment.
The EAPP and SAPP have established the Operational Readiness Implementation Team, which includes the Markets Task Team to ensure optimal coupling of the two markets

## Slide 4: Markets Task Team TORs
The duties of the Markets Task Team shall include, but not limited to the following:
      Harmonise market rules
      Harmonise Energy imbalance procedures
      Determine Inter pool transmission capacity allocation procedure
      Recommend Market coupling arrangements between EAPP and SAPP
      Determine market surveillance activities between EAPP and SAPP

## Slide 5: Coupling Options
An initial study on the coupling of the EAPP and SAPP Markets considered the following coupling options:
EAPP Order Collection model: EAPP operates a simple order collection system from the EAPP members to create one common bid for import/export towards SAPP and either EAPP or a dedicated unit under EAPP is then a member of SAPP and responsible for the scheduling of the results from this; No longer applicable with EAPP expected to operate their own market soon
SAPP/EAPP Loose Coupling model: SAPP and EAPP operate separate market trading platforms and a coupling solution between the two is developed. There are two sub-options to this; both requiring the development of a coupling system:
  Both power pools use the same market trading platform system and a new system module is created to couple the two;
  Each have their own (different) market trading platforms and a new system module is created to couple the two.
SAPP/EAPP Tight Coupling model: EAPP buys access (and operation) to the SAPP Market Trading platform, operates the internal EAPP markets, but uses the same gate closure time as SAPP and the markets are coupled through an implicit auction;
SAPP/EAPP Implicit model: EAPP joins the SAPP markets and participates under the same conditions as the current SAPP members.
NB: EAPP/SAPP Markets Task Team to propose recommendations on optimal coupling options

## Slide 6
Market liquidity, and facilitating the participation of new market players

## Slide 7: SAPP Membership Categories
Following the directive by SADC Ministers to open SAPP membership to independent players SAPP revised its membership categories to accommodate this. This improves market liquidity.
National Power Utility - meant to recognize members entrusted by Governments for SAPP ownership
  Operating Member – meant for members whose operations have a significantly high impact on the SAPP Grid (cut-off being 300 MW capacity)
  Market Participant – meant for members whose main objective is to trade on the SAPP markets (cut-off being 5 MW capacity)
Conditional Member – applicants with projects in planning or under construction

## Slide 8
National Power Utilities (12)
Market Participants (7)
Operating Members (6)
Current SAPP Members
  Summary of SAPP Membership:
  A total of 25 SAPP Members:
  8 from Zambia,
  3 from Mozambique and 3 from Zimbabwe,
  2 each from DRC, Namibia
  1 each from the rest
  11 Conditional Members
Notes: First line DRC-Zambia (HVDC) in the 1950s EFM Players - generators, retailers, financial intermediaries and speculators such as hedge funds.
Zambia- Zimbabwe 1960s Manage price risk
Mozambique-South Africa – 1975 More generally, the markets create price signals for energy infrastructure investors and provide a means to secure the
future earnings streams needed to underpin investment

## Slide 9: SAPP Membership – Conditional Members
Schonau Solar Energy (Pvt) Ltd of Namibia
Innosun Energy Holding (Pvt) Ltd of Namibia
Galen Energy (Pvt) Ltd of Namibia
Eenghono Power (Pvt) Ltd of Namibia
Nathaniel Maxuilili Power Plant Proprietary Ltd of Namibia
Terasun Energy (Pvt) Ltd of Namibia
OLC Solar Energy Corporation (Pvt) Ltd of Namibia
H2WS Energy of Namibia
Tati Power (Pvt) Ltd of Botswana
Tsamela Solar of Eswatini
TD Energy of Zimbabwe

## Slide 10: The SAPP Interconnected Grid – Regional Integration
DRC
(SNEL)
TANZANIA
(TANESCO)
MALAWI
(ESCOM)
ZAMBIA
(ZESCO/CEC/NECL/LHPC
/GPSL/MCL)
ZIMBABWE
(ZESA)
BOTSWANA
(BPC)
ANGOLA
(RNT)
MOZAMBIQUE
(EDM/HCB/MOTRACO)
ESWATINI
(EEC)
LESOTHO
(LEC)
NAMIBIA
(NAMPOWER)
SOUTH AFRICA
(ESKOM)
Future Interconnectors

## Slide 11: Some Challenges . . . . . . . . . . .
Transmission Constraints – Coordination of the planning and operations of the regional transmission Grid, adequate project preparation (SAPP Project Advisory Unit), project financing – Regional Transmission Infrastructure Financing Facility (RTIFF) – Member States accommodate private sector participation
Trading deficit – buyers in the market fail to get power they are looking for ( need for more generation and transmission interconnectors)
Generation Constraints – need for more generation - financial markets development and use of markets to underpin generation investments – enabling investment environment in Member States
Market Liquidity – need to increase number of participants – Member States to have regulatory frameworks to enable developers and improve domestic
markets including allowing open access to the transmission network

## Slide 12: Operational Challenges
Transmission congestion on both interconnectors and domestic transmission networks.
The interconnection of non-operating members.
Effect of Intermittency of Renewable Energy Technologies
Upgrade of transmission infrastructure to accommodate increasing renewable energy

## Slide 13: Market liquidity – Volumes
SAPP Matched and traded volumes shown – difference shows impact of transmission constraints
EAPP Markets yet to be launched
*The traded volumes for the 2025/26 financial year are from April 2025 to January 2026

## Slide 14
Capacity constraints in the region and need for sustainable capacity building programs – Markets

## Slide 15
  Matching – price/volume mismatch
  Transmission constraints
  Supply side – especially during peak hours
  Market Players – some dominant players
  Financial Position of some Utilities (Creditworthiness and Cashflow) – affected by end use tariff
  Access to USD – process can be long
Markets Challenges

## Slide 16
Identified capacity building programs:
Advanced Market Operations and Market Design
  Advanced market clearing algorithms
  Market trading simulations
  Advanced congestion management
  Market design principles
Market Analytics
  Advanced Market intelligence – data collection and analysis
  AI assisted market data analytics
Market Regulation and Power Market Reforms
  Regulatory compliance
  Interplay between regional market and national markets
Electricity Trading Strategies
  Load forecasting
  Renewables forecasting
  Bidding strategies
  Portfolio optimization
Electricity Security and Cross-Border Trading
  Transmission scheduling and allocation
Improved Certification Programme
  Training content
  Accreditation of certification
Training on future market products
  Electricity Financial Market
  Regional Renewable Energy Market
  Regional Carbon Market
  Regional Ancillary Services Market
Sustainable Capacity Building Programs – Markets

## Slide 17
Sustainable Capacity Building Programs – Regional Grid Operations
Grid Planning to cater for Variable Renewable Energy.
Interconnected Power System Operations.
Variable Renewable Energy, Integration and Trading – Green Climate Funding consideration.
Cross border projects prioritization.
Transmission wheeling best practices.
Transmission transfer capacity determination

## Slide 18: Thank you
Corporate: info@sapp.co.zw
Markets: markets@sapp.co.zw
Corporate: www.sapp.co.zw
Markets : www.sappmarket.com
Corporate: +263 242 335558