## Sheet1
TRACEv7 Recommendation. Version: 0.1 Date (YMD): 2016-01-12
Traffic Signals Audit and Retrofit Program
Attributes | Rating
Energy Savings Potential (kWh) | 50000
Percent Energy Saving Range % | 1% -2%
CAPEX or First Cost ($) | 100000
Speed of Implementation (Years) | 1
Co-benefits | Reduced carbon emissions Enhanced public health & safety Increased employment opportunities Financial savings
CSF Factor | Rating
Finance | High
Human Resources | Medium
Assets & Infrastructure | High
Data and Information | Medium
Policy Regulation and Enforcement | Low
Description | Summary
Description | Luminaires used in traffic lights usually operate full-time, seven days a week. The traditionally used bulb technology is often highy inefficient, with low lighting-to-power consumption ratios. Newer technologies such as Light-Emitting Diodes (LEDs) provide the required levels of lighting at much reduced energy consumption. They also usually have significantly longer design lives. The aim of this recommendation is to both assess current lighting efficiency and act to retrofit where appropriate. Increasing the energy efficiency of traffic lights not only reduces associated carbon dioxide emissions but also reduces the costs of operation. Improved design lives can significantly reduce interruptions to service which reduce maintenance requirements and costs, and also reduce periods during which risk to road users safety is significantly increased.
Implementation Activity | Methodology
Self-implementation | The main expenditures associated with a street lighting retrofit are bulb / fitting replacement, control system upgrade / replacement, and manual labor for installation. These expenses along with consulting fees are funded directly by the city, which means the city accrues all financial benefits, but also bears the financial risks
Energy Services Company Retrofit | Enlist an ESCo to take on the project. There are multiple tactics for engaging an ESCo, including part- and full-ownership of the system therefore there are varying levels of benefit in terms of risk mitigation, upfront capital cost, and financial savings over the life of the project. The presence of local ESCos will help streamline the process and make the upgrade more feasibly. Similarly, the presence of a local credible and independent Measurement & Verification agency minimises contractual disputes by providing performance verification.
Supply and Install Contract | A supply and install contract gives the city flexibility to set performance parameters and review contractor performance as part of a phased project. This type of approach will require upfront spending and establishing an appropriate financing plan is essential.
Activity | Process
Monitoring | Monitoring the progression and effectiveness of recommendations, once implemented, is fundamental to an accurate understanding of their value over the longer term. Where the CA implements a recommendation a target (or set of targets) should be defined that indicates the level of expected progress over a given timescale. At the same time a monitoring plan should be designed. The monitoring plan does not need to be complicated or time consuming but should, as a minimum, cover the following aspects: identification of information sources, identification of performance indicators, a means of measurement and validating measuring equipment or processes, record keeping protocols, a schedule for measurement activity (daily, weekly, monthly etc.), assignment of responsibilities for each aspect of the process, a means of auditing and reviewing performance and finally, establishment of reporting and review cycles.
Some Suggested Measures | •$/km - Benchmark annual energy cost on a per liner intersection basis. •Lumens / Watt - average efficacy of illumination for the current operational city traffic signals inventory.
Example and Links | Summary
LED traffic lights retrofit, Chicago, USA | In 2004 two Chicago City Authority departments (Streets and Sanitation and General Services) jointly ran a program to retrofit all of the traffic lights at intersections with Light-Emitting Diodes (LED). LED traffic lights use approx. 85% less energy than typically used incandescent lights and have significantly longer lifetimes (often by a factor of 10). This not only yields reduced operation and replacement and maintenance costs, but also results in fewer interruptions to traffic flows, which increases the safety of traffic intersections. Previously the CA spent USD 3 million annually on the energy consumption of its traffic lights. However, by replacing the traffic lights at 2,900 intersections, the CA has saved USD 2.55 million annually in energy savings and USD 100,000 annually in equipment expenditures. The traffic light retrofit program cost a total of USD 32 million, and was primarily funded through City bonds which are to be paid back through energy savings over a time period of 6-7 years.
LED traffic lights retrofit, Hong Kong, People's Republic of China | A pilot scheme in 2008 demonstrated energy savings potential by replacing conventionally used incandescent lamp bulbs in traffic lights with Light-Emitting Diodes (LED). On average, the total energy consumption of an entire junction, which included the traffic signal controller, traffic lights, audio traffic signals, and pushbuttons, was reduced by approx. one-third. Traffic signals at 1,900 junctions will be replaced as part of a retrofit program at a capital cost of USD 18 million. The annual energy savings resulting from the program are estimated at USD 970,000. Combined with an increased design life, the energy savings yielded by the LED traffic lights will therefore pay back their capital cost as well as the cost of the retrofit program within their lifetime
Tool and Links | Summary
ESMAP Public Procurement of Energy Efficiency Services | ESMAP Public Procurement of Energy Efficiency Services - Guide of good procurement practice from around the world.