## Sheet1
TRACEv7 Recommendation. Version: 0.1 Date (YMD): 2016-01-13
Lighting Infrastructure
Attributes | Rating
Energy Savings Potential (kWh) | N/A
Percent Energy Saving Range % | N/A
CAPEX or First Cost ($) | $1200 per pole and cable
Speed of Implementation (Years) | 1.5
Co-benefits | Maintenance Savings Financial savings Upgraded level of service delivered Increased Aesthetic value
CSF Factor | Rating
Finance | Medium
Human Resources | Low
Assets & Infrastructure | Medium
Data and Information | Medium
Policy Regulation and Enforcement | Low
Description | Summary
Description | Replacing street light infrastructure such as poles and cables can reduce a city’s spending on maintenance on average 60%, improve and increase aesthetic value and provide urban spaces with better illumination. Street lighting poles can be made out of treated wood or concrete which are increasingly being replaced by fiberglass or aluminum poles. Depending on the type of pole, street lighting poles can have a lifetime of 20-90 years if they are maintained well. The cables may be found inside a street pole or may be grounded or mounted depending on the type of pole fixture. When replacing street poles or cables, there are number of factors to consider including investment, maintenance, and replacement cost, design and uniformity, and lifetime of the poles and cables. Cities may find financial benefits in replacing poles and cables at the same time as LED fixtures if replacement is required. This recommendation aims to assess replacing poles and cables for street lighting.
Description | Summary
Description | Replacing street light infrastructure such as poles and cables can reduce a city’s spending on maintenance on average 60%, improve and increase aesthetic value and provide urban spaces with better illumination. Street lighting poles can be made out of treated wood or concrete which are increasingly being replaced by fiberglass or aluminum poles. Depending on the type of pole, street lighting poles can have a lifetime of 20-90 years if they are maintained well. The cables may be found inside a street pole or may be grounded or mounted depending on the type of pole fixture. When replacing street poles or cables, there are number of factors to consider including investment, maintenance, and replacement cost, design and uniformity, and lifetime of the poles and cables. Cities may find financial benefits in replacing poles and cables at the same time as LED fixtures if replacement is required. This recommendation aims to assess replacing poles and cables for street lighting.
Activity | Process
Monitoring | Monitoring the progression and effectiveness of recommendations, once implemented, is fundamental to an accurate understanding of their value over the longer term. Where the City Authority (CA) implements a recommendation, key performance indicators (KPIs) should be defined to track performance and a target (or set of targets) should be defined to ensure the expected progress over a given timescale. At the same time a monitoring plan should be designed. The monitoring plan does not need to be complicated or time consuming but should, as a minimum, cover the following aspects: identification of information sources, identification of performance indicators, a means of measurement and validating measuring equipment or processes, record keeping protocols, a schedule for measurement activity (daily, weekly, monthly etc.), assignment of responsibilities for each aspect of the process, a means of auditing and reviewing performance and finally, establishment of reporting and review cycles.
Key Performance Indicators | Some suggested key performance indicators that relate specifically to replacing poles and cables include: • Annual maintenance cost: $/pole
Example and Links | Summary
Street Light infrastructure Replacement, Sandy City, Utah, US | Sandy City, in Utah is planning to replace all 767 its fiberglass/shoebox poles and cables with aluminum poles over the next 15 years. This project will be conducted in conjunction with replacement of lighting fixtures. Most of the fiberglass poles that are currently in existence have reached their useful life of 25 years. The replacement cost for each pole is approximately $1,200 for the pole, postop luminaire, and conduit and wire. The cost for labor for the replacement is approximately $750 per pole. Sandy City estimates approximately 52 poles would be replaced each year for 15 years for a total cost of $101,000 per year. The benefits of replacing the fiberglass poles and cables include decreased maintenance costs, increased aesthetic value and energy savings of street lights. Energy savings potential were attributed to the new high pressure sodium and LED fixtures that were installed.
LED Outdoor Lighting Replacement, Lexus of South Atlanta, Union City, Georgia, USA | The Lexus car dealership of South Atlanta wanted to implement a green and energy efficiency initiative. The dealership replaced the existing metal halide with 82 new LEDs on 55 poles. Additionally, the dealership added one new pole and replaced half of the existing concrete poles with fiberglass poles. The project saves approximately 518,871 kWh of energy resulting in $49,000 per year savings and reduced annual emissions of 799,000 pounds of CO2 for the dealership. The project was conducted with partnership of Georgia Power Company, the dealership’s local electricity utility. The entire project was completed in 6 months.
LED Outdoor Lighting Replacement, Lexus of South Atlanta, Union City, Georgia, USA
Tool and Links | Summary