## Sheet1
TRACEv7 Recommendation. Version: 0.1 Date (YMD): 2016-01-13
Prioritising Energy Efficient Water Resources
Attributes | Rating
Energy Savings Potential (kWh) | 50000
Percent Energy Saving Range % | 1% - 2%
CAPEX or First Cost ($) | 100000
Speed of Implementation (Years) | 2
Co-benefits | Reduced carbon emissions Efficient water use Enhanced public health & safety Increased employment opportunities Financial savings Security of supply
CSF Factor | Rating
Finance | High
Human Resources | Medium
Assets & Infrastructure | Medium
Data and Information | Low
Policy Regulation and Enforcement | Medium
Description | Summary
Description | Develop a program to identify new opportunities for groundwater or upland surface water resources which can reduce energy costs for treatment and pumping. This is to be done by a combination of: •Alternative sources •Increased use of gravity flow •Rehabilitation of boreholes to improve flow •Rainwater capture By investigating and identifying more appropriate and conveniently located water resources, opportunities to reduce treatment and pumping energy requirements can be maximised. This can also substantially reduce associated scheme construction costs by reducing the length of pipework required, reducing pumping head required or by reducing the level of treatment needed. NOTE: Care must be taken to ensure that exploiting the new water resources does not have significant environmental or social impacts.
Implementation Activity | Methodology
Feasibility Study | The City Authority can help to establish appropriate partnerships to undertake a feasibility study. The CA should engage a team that includes network planners, water and utilities engineers, environmental specialists and financial advisors to ensure the feasibility study captures all pertinent aspects. The feasibility study establishes the technological and financial viability, as well as procurement and policy options. It defines the suitability of each water source according to location, elevation, quality and quantity it could provide. Technical ability, procurement methodology, incentives and taxes should also be given consideration. Each option should be appraised against the specific requirements and capabilities of the CA.
Direct expenditures & procurement | Where the network is owned or run by the City Authority, the CA pays for changes to water resources directly out of the city budget or through separate funding mechanisms. The advantage of this strategy is that having the legislative authority to take ownership of the intervention will facilitate compliance with local legislation, policies and obtaining planning permission.
Legislative Enforcement | The City Authority exercises its legislative power to prioritize use of energy efficient water resources. The CA can also set appropriate water quality controls and mandatory energy use thresholds for the water system. Case Study: Delhi, India
Partnering Programs | The City Authority liaises with established organisations and/or coalitions (frequently non-profit such as Alliance to Save Energy) to gain access to their experience and expertise in order to implement the most appropriate changes to the pipe/pumping infrastructure. Such organisations often undertake research, educational programs, and policy advocacy, design and implementation of energy-efficiency projects, promotion of technology development and deployment, and/or help to build public-private partnerships. Difficulty can arise where the partnering organisations do not have access or influence over the funds required to implement the initiatives. Case Study: Sierra Leone; Kayrati, Chad; Delhi, India.
Water Company Collaboration | The City Authority incentivises water authorities to develop a partnering program that will create more energy efficient water sourcing and distribution systems across the city. If the organisations and/or water companies have no interest in the strategy, the City Authority may opt to subsidise the initial expense of any plant or hardware required and support the initiative through associated regulations. If the strategy is successful the CA may receive a rebate from the organisations bearing the costs of pumping and treatment. Case Study: Sierra Leone
Raise Awareness of Rainwater Harvesting | The City Authority invests in publicity and promotion of ways to capture and reuse water. This helps to raise awareness of the products available and encourage the local community to engage with new water efficient technology .e.g. Rainwater Harvesting Tanks. This activity may be complemented by offering subsidies or a rebate to those who are willing to invest in water saving products.
Activity | Process
Monitoring | Monitoring the progression and effectiveness of recommendations, once implemented, is fundamental to an accurate understanding of their value over the longer term. Where the CA implements a recommendation a target (or set of targets) should be defined that indicates the level of expected progress over a given timescale. At the same time a monitoring plan should be designed. The monitoring plan does not need to be complicated or time consuming but should, as a minimum, cover the following aspects: identification of information sources, identification of performance indicators, a means of measurement and validating measuring equipment or processes, record keeping protocols, a schedule for measurement activity (daily, weekly, monthly etc.), assignment of responsibilities for each aspect of the process, a means of auditing and reviewing performance and finally, establishment of reporting and review cycles.
Some suggested measures | •% Volume of water sourced by energy used in pumping (kWh/l): Measures the total volume of water sourced by different types such as surface water, groundwater, desalination, or recycling during the reporting period. •Number of households claiming subsidies/rebates for purchasing and installing rainwater harvesting tanks: Measures the number of households correctly claiming subsidies/rebates after purchasing water efficient technologies during the reporting period.
Example and Links | Summary
Solar Powered Drinking Water Pumps for Communities in Kenya | Dadaab is one of the largest refugee camp in the world, helping displaced people in East Africa with a multi-agency approach for over 20 years. Power is only available from several large Diesel Generators which run 24 hours per day. The only source of water is from boreholes which are on average 130m deep. An audit indicated clearly that solar energy was indeed a suitable solution and in fact would provide more sustainability for the pumping systems. In 2012 one of the diesel generator powered pumps was replaced by a solar powered pump. This project has resulted in significant operating cost savings and removes both risk and complexity in water supply. This system is expected to provide an annual saving of about $10,000 compared to a generator powered system of a similar capacity. The annual operation cost was found to have reduced by over 70% and by 60% including the capital cost of the system.
Rainwater Harvesting, Delhi, India | Measures for Ensuring Sustainability of Rainwater Harvesting, Water for Asian Cities Programme Rain Water Harvesting and Artificial Recharge to ground water: A Guide to follow. 2008. Rapid urbanisation and population growth have resulted in Delhi facing acute water shortages and a drastic drop in the groundwater table. A number of measures are being promoted to address the falling groundwater levels. One of these measures involves a Ministry of Water Resources programme for rainwater harvesting and recharge of the groundwater system. The Municipal Corporation of Delhi has given instruction to make rainwater harvesting mandatory in all new buildings with a roof area of more than 100 m2 on plots exceeding 1,000 m2. The potential of rooftop rainwater harvesting is approximately 125,000 litres for a plot size of 250 m2 based on an annual rainfall of 1,000mm. If the scheme is implemented throughout the city of Delhi the additional recharge to groundwater will be around 76,500 million litres per annum. If the water level rise from this recharge is as expected, this will amount to a saving of US$16,000 per day. Over and above this saving on conventional water supply, there will be a very significant energy saving; in floodplains the energy saving for 1m rise in ground water level is around 0.40 kW per hour due to the reduced pumping needs.
Gravity-fed Schemes, Moyamba Township, Sierra Leone | Since the end of the war in 2002, the Moyamba District Council with the support of the World Bank has attempted to rehabilitate the old pumping station and the network of water supply lines in the Moyamba township. However, the high cost of pumping water has meant that water supplied through this improvement cannot be sustained. The Ministry of Energy and Power has introduced a gravity-fed scheme for areas with gravity water sources. The money saved can be partly invested into supporting the pumping system during the height of the dry season when the water flow is low. The capital costs of gravity schemes are, on average, higher than the costs of schemes which obtain water from underground sources. This is due mainly to the cost of long pipelines from the upland sources down to the villages and partly to the cost of providing storage tanks. Running costs are usually low. The project has been implemented by the Kaiyamba Chiefdom Development Committee with the cooperation and support of the Moyamba District Council and the full participation of the staff of the Water Works Department in Moyamba. SIGA, the NGO, represents the donors at the committee and is responsible for the coordination, disbursement and procurement of all project activities. SIGA is also responsible for arranging and assisting with evaluation, monitoring and reporting.
Tool and Links | Summary