## Sheet1
TRACEv7 Recommendation. Version: 0.1 Date (YMD): 2016-01-12
Municipal Residential (Public Housing) Audit & Retrofit Program
Attributes | Rating
Energy Savings Potential (kWh) | 200000
Percent Energy Saving (%) | 1% - 3%
CAPEX or First Cost ($) | 1000000
Speed of Implementation (Years) | 1
Co-benefits | Reduced carbon emissions Improved air quality Enhanced public health & safety Increased employment opportunities Financial savings
CSF Factor | Rating
Finance | High
Human Resources | Medium
Assets & Infrastructure | Medium
Data and Information | Medium
Policy Regulation and Enforcement | Low
Description | Summary
Description | Develop an audit and retrofit program focused on all municipally owned and operated Residential Buildings to survey and implement opportunities for energy efficiency retrofits and upgrades. The benefits of he program will be reduced operating costs for residents (or CA if CA pays utility bills in public residential) and better lighting and comfort conditions. With more efficient energy residential buildings and lower operating costs more funds will be available for other operational expenses.
Implementation Activity | Methodology
Identify Residential Program Leader | Identify a CA staff position or hire a new position to be responsible for execution and delivery of energy efficiency projects in municipal residential buildings. This individual must be able to work across agencies, understand building systems and manage subcontractors.
Identify Preliminary Opportunities | Using results from the Benchmarking Program or data collected on residential buildings by Residential Program staff, identify preliminary opportunities for energy efficiency such as: new lighting systems, new air conditioning systems, new heating systems, new appliances, etc. Residential buildings tend to be simple buildings with the main opportunities being heating systems, air conditioning and lighting.
Perform Detailed Energy Audits | Walk through a variety of residential buildings to identify specific energy efficiency opportunities across the following end-uses and activities: •lighting systems •air conditioning systems •heating systems •appliances (washer, dryer, fridge, freezer, TV, radio, etc.) The Municipal Residential EE Spreadsheet includes estimation methods for energy efficiency potential for residential buildings which include equipment retrofits, behavioural changes (turning lights off, heating set-points, time of operation, etc.) and procurement guidelines.
Set Budget and Requirements | Allocate budgets for energy efficiency upgrades in municipal residential buildings. Combining upgrades with natural building renovations tends to be the best use of limited financing. For example if a new roof is required due to leaks, this is a good time to add insulation and white roof; or if new windows are being installed they could be upgraded to highly insulated windows using Residential Building Energy Efficiency Program funds. Alternatively contracts may be set up with Energy Service Companies (ESCOs) who will pay for the first cost of the upgrades and will share in the savings from the retrofits.
Design Retrofits / Upgrades | Considering the benchmarking data, detailed energy audits and budgetary constraints, design retrofits, equipment replacement and renovation upgrades specifically for each building.
Hire Contractor to Implement Retrofits | Prepare an RFP for mechanical or electrical contractors to bid on the retrofit projects. Combining a large number of similar retrofits across dozens of residential buildings will allow the CA to obtain economies of scale and quality assurance with lower overheads. Alternatively prepare a RFP and award an energy service contract to a private company (ESCO) who will guarantee energy savings, put forward the initial investment, and share future savings with the CA.
Verify Retrofit and Performance | Walk through and verify that each construction project has been performed per the specifications in the energy efficiency retrofit RFP. Continue to collect electricity and heating bills for each building with improved systems and compare to historical data.
Activity | Process
Monitoring | Monitoring the progression and effectiveness of recommendations, once implemented, is fundamental to an accurate understanding of their value over the longer term. Where the CA implements a recommendation a target (or set of targets) should be defined that indicates the level of expected progress over a given timescale. At the same time a monitoring plan should be designed. The monitoring plan does not need to be complicated or time consuming but should, as a minimum, cover the following aspects: identification of information sources, identification of performance indicators, a means of measurement and validating measuring equipment or processes, record keeping protocols, a schedule for measurement activity (daily, weekly, monthly etc.), assignment of responsibilities for each aspect of the process, a means of auditing and reviewing performance and finally, establishment of reporting and review cycles.
Some Suggested Measures | •kWhe/m2 - Benchmark annual electrical energy consumption on a per-square-meter basis for all residential buildings in the city. •kWht/m2 - Benchmark annual heating energy consumption on a per-square-meter basis for all residential buildings in the city. •$/m2 - Benchmark energy cost on a per-square-meter basis for all residential buildings.
Example and Links | Summary
"Warm and comfortable living" Campaign, Amersfoot, The Netherlands | "Warm and comfortable living" is a campaign taking place in selected districts of the city of Amersfoort. The campaign is targeted at owner-occupants of houses built before 1985, the year in which they started to pay attention to insulation and energy-saving technology. The Amersfoort municipality, Energie Bureau Amersfoort, the energy supplier to the province REMU and Plan building are working closely together. The aim is to encourage as many owner-occupants as possible to request an Energy Performance Assessment (EPA), and then to ensure that the recommended energy-saving measures are actually implemented. In the process the end-user is alerted to the availability of attractive subsidies (REP). The campaign was entirely financed by Amersfoort municipality.
Tool and Links | Summary
EU LOCAL ENERGY ACTION Good practices 2005 | EU LOCAL ENERGY ACTION Good practices 2005 - Brochure of good practice examples from energy agencies across Europe.
Energy Conservation Buildings Code | Energy Conservation Buildings Code provides minimum requirements for the energy efficient design and construction of buildings and their systems.
ESMAP Public Procurement of Energy Efficiency Services | ESMAP Public Procurement of Energy Efficiency Services - Guide of good procurement practice from around the world.